## Slide 1: Microscale titration Integrated instructions
Notes: This resource is based on a method developed by CLEAPSS, PP019 Analysis of vinegar (small scale) available at https://science.cleapss.org.uk/
Image © Royal Society of Chemistry, Emma Lumb.

## Slide 2: Integrated instructions
Integrated instructions use clear numbering, arrows and simple pictograms (for example, an eye showing when to make observations). They were developed using cognitive load theory and remove unnecessary information. Integrated instructions reduce extraneous load on learners, increasing the capacity of their working memory to think about what they are doing and why.
Read more at rsc.li/47bIKi5.
Full technician notes, including safety, preparation and disposal, are available from rsc.li/4icIogx.

## Slide 3: Integrated instructions: gravimetric titration
0.00 g
1 drop phenolphthalein. Take the mass, M1 
1 cm3 vinegar. Take the mass, M2 
 Fill pipette with NaOH 
 Clamp pipette gently 
 Carefully tighten clamp to add 1 drop NaOH 
 Swirl vial 
 Repeat steps 5 and 6 until permanent pink. Take the mass, M3 
RSC Microscale chemistry
Gravimetric titration
Downloaded from rsc.li/4icIogx
Based on a method developed by CLEAPSS
Notes: Method
Add 1 drop of phenolphthalein to a small beaker or vial. Weigh the vial and its contents and record the total mass as M1.
Add ~1 cm3 of vinegar to the same beaker. Weigh the vial and its contents and record the total mass as M2.
Fill a dropping pipette with sodium hydroxide solution (around 0.2 M).
Clamp the pipette gently.
Tighten the clamp carefully until 1 drop of NaOH is added to the beaker/vial.
Swirl the beaker/vial.
Repeat steps 5 and 6 until a pale permanent pink colour is seen. Weigh the vial and its contents and record the mass (M3).
To calculate the % of ethanoic acid in the original vinegar:
Vinegar (% w/v) = 4.8 x (M2-M3)
(M2-M1)

## Slide 4: Integrated instructions: volumetric titration
 1 drop phenolphthalein 
1 cm3 vinegar 
 Fill pipette with NaOH 
 Clamp pipette gently 
 Carefully tighten clamp to add 1 drop NaOH 
 Swirl vial 
 Repeat steps 5 and 6, counting the drops, until permanent pink 
RSC Microscale chemistry
Volumetric titration
Downloaded from rsc.li/4icIogx
Based on a method developed by CLEAPSS
Notes: Method
Add 1 drop of phenolphthalein to a small beaker or vial.
Add ~1 cm3 of vinegar to the same beaker.
Fill a dropping pipette with sodium hydroxide solution (around 0.2 M).
Clamp the pipette gently.
Tighten the clamp carefully until 1 drop of NaOH is added to the beaker/vial.
Swirl the beaker/vial.
Repeat steps 5 and 6 (counting the number of drops added) until a pale permanent pink colour is seen.